## Load Cell Selection
ASTM E74 Load Cell Selection
Company |  |  | Ultra 0.005 % of full scale |  |  | Precision 0.01 % of full scale |  |  | Calibration 0.02 % of full scale |  |  | Custom 0.025 % of full scale |  |  | Compression
Instrument Type | Load Cell |  | ASTM llf = 0.5 lbf |  |  | ASTM llf = 1 lbf |  |  | ASTM llf = 2 lbf |  |  | ASTM llf = 2.5 lbf
Capacity | 10000 |  | lbf | % of capacity |  | lbf | % of capacity |  | lbf | % of capacity |  | lbf | % of capacity | lbf | Tension
Force Units | lbf | ASTM CLASS A VERIFIED RANGE OF FORCES | 200 | 0.25% | ASTM CLASS A VERIFIED RANGE OF FORCES | 400 | 0.25% | ASTM CLASS A VERIFIED RANGE OF FORCES | 800 | 0.25% | ASTM CLASS A VERIFIED RANGE OF FORCES | 1000 | 0.25% | kgf
|  |  | 1000 | 0.05% |  | 1000 | 0.1% |  | 1000 | 0.2% |  | 1000 | 0.25% | N
|  |  | 2000 | 0.025% |  | 2000 | 0.05% |  | 2000 | 0.1% |  | 2000 | 0.125% | kN
Morehouse Load Cells |  |  | 3000 | 0.01667% |  | 3000 | 0.03333% |  | 3000 | 0.06667% |  | 3000 | 0.08333%
Ultra | 0.005% |  | 4000 | 0.0125% |  | 4000 | 0.025% |  | 4000 | 0.05% |  | 4000 | 0.0625%
Precision | 0.01% |  | 5000 | 0.01% |  | 5000 | 0.02% |  | 5000 | 0.04% |  | 5000 | 0.05%
Calibration | 0.02% |  | 6000 | 0.008333% |  | 6000 | 0.01667% |  | 6000 | 0.03333% |  | 6000 | 0.04167%
Custom | 0.025% |  | 7000 | 0.007143% |  | 7000 | 0.01429% |  | 7000 | 0.02857% |  | 7000 | 0.03571%
|  |  | 8000 | 0.00625% |  | 8000 | 0.0125% |  | 8000 | 0.025% |  | 8000 | 0.03125%
|  |  | 9000 | 0.005556% |  | 9000 | 0.01111% |  | 9000 | 0.02222% |  | 9000 | 0.02778%
|  |  | 10000 | 0.005% |  | 10000 | 0.01% |  | 10000 | 0.02% |  | 10000 | 0.025%
|  | ASTM Class AA 1st point 1000 lbf |  |  | ASTM Class AA 1st point 2000 lbf |  |  | ASTM Class AA 1st point 4000 lbf |  |  | ASTM Class AA 1st point 5000 lbf
Class AA Verified range of forces for calibration of other force-measuring instruments requires every force point needs to be better than 0.05 % of the applied force
Note: Morehouse has deadweight primary standards up to 120,000 lbf, any calibration above this, we cannot assign a Class AA range
Class A Verified range of forces for calibration of a 1 % testing or tensile machine means every force point needs to be better than 0.25 % of the applied force